8.5 Fire safety and emergency evacuation

Policy statement

At Cumnor Preschool Nursery we ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The pre-school manager and our staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as a Fire Officer or Fire Safety Consultant. A Fire Safety Log Sheet is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills. We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

We recognise that we have a corporate responsibility and a duty of care for those who work in and receive a service from our provision, but individual employees and service users also have a responsibility to ensure their own safety as well as that of others.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- The manager has received training in fire safety sufficient to be competent to carry out the risk assessment; this will follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- Our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Cookers.

- Matches.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals. (COSSH)

- Means of escape.

- Anything else identified.

- Necessary equipment is in place to promote fire safety.

Fire safety precautions taken

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Fire exit signs are the green ‘running man’ signs and are in place and clearly visible.

- Fire exits by doors are those that show a green light at night.

- We ensure that smoke detectors and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- Water and electrical items do not come into contact; staff do not touch electrical items with wet hands.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

- Children are familiarised with the whistle that is blown to indicate need for evacuation.

- The children, staff and parents are shown where the fire exits are.

- Children are led from the building to the assembly point, the front school field in an orderly manner.

- The register is called at the assembly point by the Manager

- The length of time it takes to evacuate is recorded.

- The emergency services are called once the building has been evacuated by the Manager or a member of staff.

Fire drills

We hold fire drills termly, usually in conjunction with the primary school, and record the following information about each fire drill in the Fire Safety Log Sheet:

- The date and time of the drill.

- Number of adults and children involved.

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

###### Legal references

Regulatory Reform (Fire Safety) Order 2005)

Electricity at Work Regulations (1989)

Further guidance

Fire Safety Record (Early Years Alliance 2019)

Fire Safety Risk Assessment: Educational Premises www.communities.gov.uk/publications/fire/firesafetyrisk6

| This policy was adopted by | Cumnor Pre-school Nursery | (name of provider) |
| --- | --- | --- |
| On | 6 March 2024 | (date) |
| Date to be reviewed | March 2025 – Term 4 | (date) |
| Signed on behalf of the provider |  |
| Name of signatory | Melissa Round |
| Role of signatory (e.g. chair, director or owner) | Committee Member |